
	Public Water System ID Number
	Public Water System Name

	AZ04-09075
	Misty Mountain DWID 

	Contact Name and Title
	Phone Number
	E-mail Address

	Trevor Deming 
	520-827-9417
	waterops@yahoo.com

	We want our valued customers to be informed about their water quality.  If you would like to learn more about public participation or to attend any of our regularly scheduled meetings, please contact White Mountain Utility                                           at 928-243-4398  for additional opportunity and meeting dates and times. You may also visit our website at mistymtndwid.com.


This is our annual report about your drinking water quality, also called a Consumer Confidence Report or CCR. Having clean, safe water is one of the most important services we provide, and we want you to be as informed as possible about your drinking water.

This report provides you with information about where you water comes from, results of sampling that we have performed, and any issues or violations that happened over the previous year. This water quality report includes a table with the most recent water testing results within the last 5 years. The table shows if different germs and chemicals were in a safe range and met EPA's health standards. Look for the column in the table called "TT or MCL violation," to see if your utility found unsafe levels of any germs or chemicals.

You may also find real-time information about our water system at the Arizona Department of Environmental Quality (ADEQ) Drinking Water Watch website at https://azsdwis.azdeq.gov/DWW_EXT/
Drinking Water Sources

	The sources of drinking water (both tap water and bottled water) include rivers, lakes, streams, ponds, reservoirs, springs, and wells. As water travels over the surface of the land or through the ground, it dissolves naturally-occurring minerals and, in some cases, radioactive material, and can pick up substances resulting from the presence of animals or from human activity.

	Our water source(s):
	WL-55-525401


Source Water Assessment

	Making the water safe to drink starts by protecting the place it comes from. We work with state scientists at the Arizona Department of Environmental Quality (ADEQ) to examine water at its source to look for possible pollutants. This is called a Source Water Assessment (SWA). 

Based on the information available at the time of the assessment on the hydrogeology and land uses around the drinking water source(s) of this public water system, the Arizona Department of Environmental Quality (ADEQ) has given a low vulnerability designation for the degree to which this public water system drinking water source(s) are protected. 
A low vulnerability designation indicates that most source water protection measures are either already implemented, or the hydrogeology is such that the source water protection measures will have little impact on protection. Further source water assessment information can be found on ADEQ’s website: https://azdeq.gov/source-water-protection


Drinking Water Contaminants
	Contaminants are any physical, chemical, biological, or radiological substance or matter in water. Contaminants that may be present in source water include:

	Microbial Contaminants: such as viruses and bacteria, which may come from sewage treatment plants, septic systems, agricultural livestock operations, and wildlife.
Inorganic Contaminants: such as salts and metals, which can occur naturally in the soil or groundwater or may result from urban stormwater runoff, industrial or domestic wastewater discharges, oil and gas production, mining, or farming.
Pesticides and herbicides: which may come from a variety of sources such as agriculture, urban stormwater runoff, and residential uses.

	Organic Chemical Contaminants: including synthetic and volatile organic chemicals, which are by-products of industrial processes and petroleum production, and can also come from gas stations, urban stormwater runoff, and septic systems.

Radioactive Contaminants: which can be naturally-occurring or be the result of oil and gas production and mining activities.


Vulnerable Population
	Drinking water, including bottled water, may reasonably be expected to contain at least small amounts of some contaminants. The presence of contaminants does not necessarily indicate that water poses a health risk. In order to ensure that tap water is safe to drink, the Environmental Protection Agency (EPA) prescribes regulations which limit the amount of certain contaminants in water provided by public water systems. The Food and Drug Administration (FDA) regulations establish limits for contaminants in bottled water which must provide the same protection for public health.
Some people may be more vulnerable to contaminants in drinking water than the general population. Immuno-compromised persons such as persons with cancer undergoing chemotherapy, persons who have undergone organ transplants, people with HIV/AIDS or other immune system disorders, some elderly, and infants can be particularly at risk from infections. These people should seek advice about drinking water from their health care providers. 
More information about contaminants, their potential health effects, and the appropriate means to lessen the risk can be obtained by calling the Environmental Protection Agency's Safe Drinking Water Hotline at 800-426-4791 or visiting the website epa.gov/safewater.


Definitions 
	Maximum Contaminant Level (MCL): The highest level of a contaminant that is allowed in drinking water. MCLs are set as close to the MCLGs as feasible using the best available treatment technology.

Maximum Contaminant Level Goal (MCLG): The level of a contaminant in drinking water below which there is no known or expected risk to health. MCLGs allow for a margin of safety.

Treatment Technique (TT): A required process intended to reduce the level of a contaminant in drinking water.
Action Level (AL): The concentration of a contaminant which, if exceeded, triggers treatment or other requirements which a water system must follow.
Maximum residual disinfectant level goal or MRDLG:  The level of a drinking water disinfectant below which there is no known or expected risk to health. MRDLGs do not reflect the benefits of the use of disinfectants to control microbial contaminants.
	Maximum Residual Disinfectant Level (MRDL): The highest level of a disinfectant allowed in drinking water. There is convincing evidence that addition of a disinfectant is necessary for control of microbial contaminants.

Level 1 Assessment: A study of the water system to identify potential problems and determine (if possible) why total coliform bacteria have been found in our water system.
Level 2 Assessment: A very detailed study of the water system to identify potential problems and determine (if possible) why an E. coli MCL violation has occurred and/or why total coliform bacteria have been found in our water system on multiple occasions.


Lead Informational Statement
	Lead can cause serious health problems, especially for pregnant women and young children. Lead in drinking water is primarily from materials and components associated with service lines and home plumbing. 
Misty Mountain DWID is responsible for providing high quality drinking water and removing lead pipes, but cannot control the variety of materials used in plumbing components in your home. You share the responsibility for protecting yourself and your family from the lead in your home plumbing. You can take responsibility by identifying and removing lead materials within your home plumbing and taking steps to reduce your family's risk. 
Before drinking tap water, flush your pipes for several minutes by running your tap, taking a shower, doing laundry or a load of dishes. You can also use a filter certified by an American National Standards Institute accredited certifier to reduce lead in drinking water. 
To address lead in drinking water, public water systems were required to develop and maintain an inventory of service line materials by Oct 16, 2024. Developing an inventory and identifying the location of lead service lines (LSL) is the first step for beginning LSL replacement and protecting public health. Please contact us if you would like more information about the inventory or any lead sampling that has been done. 
If you are concerned about lead in your water and wish to have your water tested, contact Misty Mountain at 520-827-9417. Information on lead in drinking water, testing methods, and steps you can take to minimize exposure is available at http://www.epa.gov/safewater/lead. 


Water Quality Data – Regulated Contaminants 
	The following are terms related to water quality data presented in this table:

	Not Applicable (NA): Sampling was not completed because it was not required by regulation.

Not Detected (ND or <): Not detectable at reporting limit.

Minimum Reporting Limit (MRL): The smallest concentration of a substance that can be reliably measured by a given analytical method.

Millirems per year (MREM): A measure of radiation absorbed by the body.

Nephelometric Turbidity Units (NTU): Measure of water clarity.

Million fibers per liter (MFL): Measure of asbestos fibers.
Picocuries per liter (pCi/L): Measure of the radioactivity in water.
	ppm: Parts per million or Milligrams per liter (mg/L), equal to 1/1000 of a gram.

ppb: Parts per billion or Micrograms per liter (µg/L), equal to 1000 ppm.   

ppt: Parts per trillion or Nanograms per liter (ng/L), equal to 1000 ppb.

ppq: Parts per quadrillion or Picograms per liter (pg/L), equal to 1000 ppt.


	Microbiological (RTCR)

	TT

Violation

Y or N
	Number of Positive Samples 
	Positive

Sample(s) Month & Year
	MCL
	MCLG
	Likely Source of Contamination

	E. Coli
	N
	0
	n/a
	0
	0
	Human and animal fecal waste

	Lead & Copper
	MCL

Violation

Y or N
	90th Percentile
	Number of Samples Exceeding AL
	AL
	ALG
	Sample Month & Year
	Likely Source of Contamination

	Copper (ppm)
	N
	0.044
	N/A
	1.3
	1.3
	09/2022
	Corrosion of household plumbing systems; erosion of natural deposits

	Lead (ppb)
	N
	0.09
	0
	15
	0
	09/2022
	Corrosion of household plumbing systems; erosion of natural deposits

	Radionuclides
	MCL Violation

Y or N
	Running Annual Average (RAA) OR Highest Level Detected
	Range of All Samples

(Low-High)
	MCL
	MCLG
	Sample Month & Year
	Likely Source of Contamination

	Alpha Emitters (pCi/L)

                                           
	N
	3.50 
	3.50
	15
	0
	08/2023
	Erosion of natural deposits

	Combined Radium-226 & -228 (pCi/L)
	N
	.669
	.669
	5
	0
	08/2023
	Erosion of natural deposits

	Inorganic Chemicals 
(IOC)
	MCL

Violation

Y or N
	Running Annual Average (RAA) OR Highest Level Detected
	Range of All Samples 

(Low-High)
	MCL
	MCLG
	Sample Month & Year
	Likely Source of Contamination

	Antimony (ppb)
	N
	1.1
	1.1
	6
	6
	08/2023
	Discharge from petroleum refineries; fire retardants; ceramics, electronics and solder

	Arsenic1 (ppb)
	N
	2.4
	2.4
	10
	0
	08/2023
	Erosion of natural deposits, runoff from orchards, runoff from glass and electronics production wastes

	Barium (ppm)
	N
	.08
	.08
	2
	2
	08/2023
	Discharge of drilling wastes; discharge from metal refineries; Erosion of natural deposits

	Cadmium (ppb)
	N
	1.4
	1.4
	5
	5
	09/2023
	Corrosion of galvanized pipes; natural deposits;  metal refineries; runoff from waste batteries and paints

	Chromium (ppb)
	N
	2.1
	2.1
	100
	100
	09/2023
	Discharge from steel and pulp mills; Erosion of natural deposits

	Fluoride (ppm)
	N
	.17
	.17
	4
	4
	09/2023
	Erosion of natural deposits; water additive which promotes strong teeth; discharge from fertilizer and aluminum factories

	Nitrate2 (ppm)
	N
	.19
	.19
	10
	10
	2024
	Runoff from fertilizer use; leaching from septic tanks, sewage; erosion of natural deposits


All contaminants listed below were tested for and were NOT found in our water. These contaminants are considered Non-Detect or not present:

Synthetic Organic Compounds (Last tested 08/2023): 2,4-D, 2,4,5-TP (a.k.a. Silvex), Acrylamide, Alachlor, Atrazine, Benzo (a) pyrene (PAH), Carbofuran, Chlordane, Dalapon, Di (2-ethylhexyl) adipate, Di (2-ethylhexyl) phthalate, Dibromochloropropane, Dinoseb, Diquat, Dioxin [a.k.a. 2,3,7,8-TCDD], Endothall, Endrin, Epichlorohydrin, Ethylene dibromide, Glyphosate, Heptachlor, Heptachlor epoxide, Hexachlorobenzene, Hexachlorocyclo pentadiene, Lindane, Methoxychlor, Oxamyl (a.k.a. Vydate), PCBs (Polychlorinated biphenyls), Pentachlorophenol, Picloram, Simazine, Toxaphene

Volatile Organic Compounds (Last tested 08/2023): Benzene, Carbon tetrachloride, Chlorobenzene, o-Dichlorobenzene, p-Dichlorobenzene, 1,2-Dichloroethane, 1,1-Dichloroethylene, cis-1,2 Dichloroethylene, trans-1,2-Dichloroethylene, Dichloromethane, 1,2-Dichloropropane, Ethylbenzene, Styrene, Tetrachloroethylene, 1,2,4-Trichlorobenzene, 1,1,1-Trichloroethane, 1,1,2-Trichloroethane, Trichloroethylene, Toluene, Vinyl Chloride, Xylenes
Inorganic Chemicals (Last tested 08/2023): Asbestos, Beryllium, Chromium, Mercury, Nitrite (last tested 2020) Selenium, Thallium
Water Quality Table – Unregulated Contaminants 

Your drinking water was sampled between 2023-2025 for the presence and concentration of 29 different per- and polyfluoroalkyl substances, some known by the acronyms PFAS, PFOA, PFNA, PFHxS, PFBS, and GenX, a group of contaminants in the final stages of becoming regulated by the EPA. PFAS are man-made chemicals that are resistant to heat, water, and oil. They have been used since the 1940s to manufacture various consumer products, including fire-fighting foam and stain resistant, water-resistant, and nonstick items. Many PFAS do not break down easily and can build up in people, animals, and the environment over time. Scientific studies have shown that exposure to certain PFAS can be harmful to people and animals, depending on the level and duration of exposure.

To learn more about this group of chemicals, we encourage you to visit the ADEQ website at https://www.azdeq.gov/pfas-resources. You may also read the ADEQ-provided “PFAS 101 Fact Sheet” or view ADEQ’s Introduction to PFAS video on YouTube at https://www.youtube.com/watch?v=t44kSh0uKXE
	Per- and Polyfluoroalkyl Substances
	Highest Level Detected
	Range of All Samples


	Proposed MCL

	PFOA (in parts per trillion)
	ND
	
	4.0 ppt

	PFOS (in parts per trillion)
	ND
	
	4.0 ppt

	PFNA (in parts per trillion)
	ND
	
	10 ppt

	PFHxS (in parts per trillion)
	ND
	
	10 ppt

	PFBS (in parts per trillion)
	ND
	
	N/A*

	GenX (in parts per trillion)
	ND
	
	10 ppt

	Calculated Hazard Index (HI)
	ND
	
	1 (no units)


* Hazard Index or HI:  The Hazard Index is an approach that determines the health concerns associated with mixtures of certain PFAS in finished drinking water. Low levels of multiple PFAS that individually would not likely result in adverse health effects may pose health concerns when combined in a mixture. The Hazard Index MCL represents the maximum level for mixtures of PFHxS, PFNA, HFPO-DA, and/or PFBS allowed in water delivered by a public water system. A Hazard Index greater than 1 requires a system to take action.
For more information about these reports and what is required in them, visit EPA’s website at: https://www.epa.gov/ccr/ccr-information-consumers
Consumer Confidence Report for Calendar Year 2024


Este informe contiene informactión muy importante sobre el aqua usted bebe.  �Tradúscalo ó hable con alguien que lo entienda bien.


� HYPERLINK "https://espanol.epa.gov/espanol/recursos-e-informacion-sobre-el-ccr-para-los-consumidores" �https://espanol.epa.gov/espanol/recursos-e-informacion-sobre-el-ccr-para-los-consumidores�




















PAGE  
Consumer Confidence Report 2024 PWS# AZ0409075                                                                                    Page 8 of 8

